DEENDAYAL PORT TRUST

(Formerly known as Kandla Port Trust)

Office of the Electrical Engineer,

Port & Customs Building, 						Tel: (02836)270209 / 270342

New Kandla (Kutch), Gujarat-370210.				FAX: (02836) 270184 /270475

No.EL/AC/  2714    				 			                      Date: 08/11/2021

To

M/s. ______________________.,

___________________________,

___________________________,

___________________________.

“EXPRESSION OF INTEREST (EOI)”

Subject – “Operation & Maintenance of 66/11kV Substation inside Cargo Jetty area at DPT, Kandla for a period of two years”

Sir,

Expression of interest (EOI) are invited to carry out the work “Operation & Maintenance of 66/11kV Substation inside Cargo Jetty area at DPT, Kandla for a period of two years- Regarding Consumable & Tools and Tackels ” as per Annexure-I & II and the Scope of work, Technical specification, Terms &, Conditions stipulated below.

The Expression of Interest (EOI) along with Schedule-B should reach this office of undersigned on or before  16/11/2021 at 17.00hrs or scanned copy of scanned offer also accepted on e-mail xenekpt@gmail.com which shall be opened on the same day.

Yours faithfully,

Superintending Engineer (E)

Deendayal Port trust.

BILL OF QUANTITIES

Name of Work: Operation & Maintenance of 66/11kV Substation inside Cargo Jetty area at DPT, Kandla for a period of two years.

| Sr. no. | Description | Qty | Unit | Rate | Amount |
| --- | --- | --- | --- | --- | --- |
| PART A ( Operation & Maintenance) |  |  |  |  |  |
| 1 | Operation & Maintenance of 66/11kV switchyard & Substation, 66 KV equipments , Power Transformers, HT/LT equipments, including substation & area Lighting, along with necessary Tools & Tackles and consumables as Annexure - I & Annexure - II |  |  |  |  |
| (a) | Consumables (as Annexure –II) | 1 | Monthly |  |  |
| (b) | Tools & Tackles (As Annexure-I) | Lump Sump | Complete Job |  |  |
| Total Amount (₹) |  |  |  |  |  |
| (In Words Rupees __________________________________________________________) |  |  |  |  |  |

NOTE: The rates should be inclusive of all taxes, duties, fees, cess etc. and all incidental charges; but exclusive of GST).

Signature & Seal                           					Superintending Engineer (E)

Of Contractor                        					    Deendayal Port Trust

SECTION – V

SCOPE OF WORK

The scope of operation and maintenance is covered entire 66/11 KV substation/Switchyard to carry out on the basis of 24x7 at 66/11 KV substation. the operation and maintenance of Electrical Power Equipment with in installed at 66/11 KV substation/Switchyard to achieve operational efficiency and supply reliable & quality power to its consumers and port operations for which DPT intends to provide services which are broadly as under:

- Tools & Tackles as per Annexure-I

- Consumables as per Annexure-II

Detailed Scope of Work:

the Operation & Maintenance of 66/11kV Substation including Power Transformers, station Transformers, DG sets, Incoming & Outgoing Underground Power and control cables of Substations up to LT panel within 66/11kV substation including substation & area lighting. The Tools & Tackles and Consumables as per Annexure-I & II is required for smoothly run the AMC for which required offer from the credible agency.

- Tools/Tackles:

  - Tools and tackles including, but not limited to, vacuum cleaners, blowers, welding sets, drilling machines, gas cutters, hydraulic/hand crimping machine/tools with set of dies, T&P, HT megger, temporary lighting arrangement like extension boards and hand lamps, millimeters, clamp meter, etc. shall be arranged by the contractor. List of tools and tackles is enclosed at Annexure – I.

- Consumables:

The Contractor shall arrange the consumable as per Annexure – II during the maintenance on monthly basis to the DPT store and material will be issued on production of requisition by Contractor.

Minor spares like fuses, indicating lamp, trip coil, closing coil, contactors, terminal connections, lugs etc. to keep system in operation will be included in the scope of the contractor at his cost. The contractor shall arrange all types of spares as per attached list – II.

- PENALTIES:

12.1.  As per Clause No. 05 the quantity of Consumables shall be maintained all the times if same is not maintained by Contractor the penalty amounting to Rs: 100/- per week per item shall be deducted from the RA Bill of Contractor.

12.2 During the inspection if any instruments mentioned above Clause No. 04 tools & Tackles which required to be kept by the contractor during the contract period as per the tender condition, are not available, penalty at the rate of Rs.: 100/- per instrument per day and Rs. 50/- per tool per day and part thereof will be recovered from the payment due to the contractor till such tools are brought back by the contractor.

ANNEXURE –I

INDICATIVE LIST OF TOOLS AND TACKLES

| Sr. No. | Description | Quantity |
| --- | --- | --- |
| 1 | Heavy-duty Vacuum Cleaners | 2 Nos. |
| 2 | Blowers | 2 Nos. |
| 3 | Welding Sets | 1 Set |
| 4 | Drilling Machine | 1 Set |
| 5 | Gas Cutters | 1 Set |
| 6 | Hydraulic / Hand crimping machine / tools with set of dies (for Cables and Panther conductor) | 1 Set |
| 8 | HT Megger 5000 Volt | 1 Nos. |
| 9 | Multimeters | 2 Set |
| 10 | Clamp Meter | 2 Set |
| 11 | Phase sequence meter | 1 Nos. |
| 12 | Extension Board, hand lamps | 02 Nos. |
| 13 | BDV Test Kit (As per requirement) | 01 Nos. |
| 14 | Earth (Magger) | 1 Nos. |
| 15 | Set of Discharge rods. | 4 nos. |
| 16 | Complete set of all sizes of double ended, Ring, Tubular & box spanners | 2 sets |
| 17 | Complete set of all sizes of screw drives | 2 sets |
| 18 | Heavy duty insulated hand gloves suitable for working voltage of 22kV/11KV system | 3 sets |
| 19 | Helmets, (As per requirement) | 19 Nos. |
| 20 | Safety Belts/ harness (As per requirement) | 02 set |
| 21 | First aid box. | 1 Nos. |
| 22 | Rain coats & Gum boots (As per requirement) | 19 Nos. |
| 23 | Safety google | 02 Nos. |
| 24 | Safety shoes | 19 Nos. |
| 26 | Chain Pulley Block ( 2 Tonnes) | 1 set |
| 27 | Drill Machine with bits | 1 set |
| 28 | Hand Pump for transformer Oil | 1 set |
| 29 | G. I. Bucket | 1 set |
| 30 | Ladder | 2 Nos. |
| 31 | Caution board (fluorescent) | 2 Nos. |
| 32 | Torque Wrench | 1 Nos. |
| 33 | Pipe Wrenches | 1 Nos. |
| 34 | Pressure Jet Pump with Pipe & all accessories | 1 Set |
| 35 | Dewatering Pump (during rainy season) | 1 Set |

Note: Tools and tackles shall be arranged and maintained by Contractor. In addition to the above, if any material is required for smooth functioning of the system, which is not mentioned in the list, the same shall be arranged by the contractor at their own cost.

Signature & Seal                           					Superintending Engineer (E)

of Contractor                        					Deendayal Port Trust

ANNEXURE – II

INDICATIVE LIST OF CONSUMABLES

| Sr. No. | Item description | Quantities |
| --- | --- | --- |
|  | Various sizes of HRC fuse (i.e. 63 A/125A/250 A) each set 3 Nos. | 1 set |
|  | PVC tape | 30 nos. |
|  | AVL tape | 5 nos. |
|  | H.T Heat Shrink Tape | 5 nos. |
|  | Indication lamps for panels | 50 nos. |
|  | Indication lamp holder. | 50 nos. |
|  | Various size of Nuts, Bolts & Washers | 50 Kg. |
|  | Silica Gel | 10 kg. |
|  | Cleaning Cloth / Cotton waste. | 50 Kg. |
|  | Yellow cloth | 20 kg. |
|  | Distilled water / Battery Solution. | 10 Ltr. |
|  | Various type of Control Contactors for panels i.e. 70 Amp or equivalent | 02 nos. |
|  | Anti-Tracking for cleaning of equipment’s | 15 Tin (1 tin of 10 Ltr) |
|  | Contact Cleaner Spray | 10 Tin (1 tin of 1 Ltr.) |
|  | Paint & Red oxide (Epoxy Paint) to reduce the corrosive effect of equipment’s | 10 Tin (1 tin of 1 Ltr.) |
|  | Transformer oil for oil top ups in the equipment | 200 ltr per year |
|  | Connector all type | 100 Nos. |
|  | Cleaning Detergent/Soap | 05 nos. |
|  | Opening & Closing coil of circuit breaker | 6 Set |
|  | Heavy duty dry cell or rechargeable (without acid) torches. | 10 Nos. |
|  | SF6 & VCB breakers Close coil | 04 No. |
|  | SF6 & VCB breakers Open coil | 04 No. |
|  | Relay coil | 05 No. |
|  | HPSV bulb, Choke, & Ignitor for 400 Watt | 10 No. each |
|  | Tube Light fitting & rod | 20 No. each |
|  | Various type of control fuses for GIS /RMU/CRP/SF6 breaker Panels | 20 nos. |

Note: Consumables shall be maintained by Contractor on monthly basis and deposit to store. After requisition submission issue the material from store.

Signature & Seal                           					Superintending Engineer (E)

of Contractor                        					Deendayal Port Trust

| Make List for Electrical Items |  |  |
| --- | --- | --- |
| Sr. No. | Description | Recommended Makes |
| 1 | HV VCB | SIEMENS / CROMPTON GREAVES/ABB/Schneider |
| 1(a) | HV Gas Insulated Breakers | SIEMENS /Schneider/ABB |
| 2 | POWER TRANSFORMERS | VOLTAMP/CROMPTON GREAVES /BHARAT BIJLEE/ BHEL/ SIEMENS/ABB/ Schneider/T&R |
| 3 | DISTRIBUTION TRANSFORMERS | EMCO/KIRLOSKAR/PATSON/VOLTAMP/ABB/Schneider/T&R |
| 4 | RESIN CAST TRANSFORMERS |  |
|  | A) RESIN CAST IMPREGNATED | VOLTAMP / KIRLOSKAR / EMCO |
|  | B) DRY CAST | VOLTAMP/KIRLOSKAR/EMCO |
| 5 | HT XLPE CABLES | POLYCAB/TORRENT/RPG ASIAN/ NICCO/GLOSTER/ UNISTAR/ UNIVERSAL |
| 6 | LT XLPE CABLES | POLYCAB/TORRENT/RPG ASIAN/ NICCO/ RALLISON/PRIMECAB/ HAVELLS/ UNIVERSAL/ UNISTAR/AVOCAB |
| 7 | LT ACB | SIEMENS/L&T/SCHNEIDER/C&S |
| 8 | PROTECTION RELAYS | AREVA/L&T/SIEMENS/ABB/C&S |
| 9 | LT PANEL | CPRI APPROVED |
| 10 | CHANGE OVER SWITCH | SIEMENS/L&T/ABB/C&S/SCHNIDER/ LEGRAND / INDOASIAN |
| 11 | SFU FOR MAIN LT DISTRIBUTION PANELS | SIEMENS/L&T/ABB/C&S |
| 12 | SFU FOR DISTRIBUTION PANELS & FEEDER PILLERS | SIEMENS/L&T/ABB/C&S/ SCHNEIDER/ LEGRAND/ INDOASIAN/HAVELLS |
| 13 | MCCB FOR MAIN LT DISTRIBUTION PANELS | SIEMENS/L&T/ABB |
| 14 | MCCB FOR DISTRIBUTION PANELS AND FEEDER PILLERS | SIEMENS/L&T/ABB/C&S/ SCHNIDER/ LEGRAND/ INDOASIAN/HAVELLS |
| 15 | MCB/ELCB/RCCB/ RCCBO FOR MAIN LT DISTRIBUTION PANELS | SIEMENS/HAGER L&T/ABB |
| 16 | MCB FOR DISTRIBUTION PANELS AND FEEDER PILLERS | SIEMENS/L&T/ABB/C&S/ SCHNEIDER/ LEGRAND/ INDOASIAN/ HAVELLS/ STANDARD |
| 17 | MCB DISTRIBUTION BOARD | STANDARD / HENSEL/LEGRAND / INDOASIAN / HAVELLS |
| 18 | MULTI FUNCTION DIGITAL METER FOR MAIN LT DISTRIBUTION PANELS/DIGITAL KWH METERS | L&T/ENERCON/SECURE/L&G/ RISHABH |
| 19 | ANALOG VOLT/AMPARE METER FOR DISTRIBUTION PANELS AND FEEDER PILLERS | RISHABH/AE/ENERCON/L&T |
| 20 | SLECTOR SWITCH FOR VOLTMETER/AMPARE METER | L&T/SIEMENS/C&S |
| 21 | POWER CONTACTOR & OVER LOAD RELAYS | L&T/SIEMENS/ABB |
| 22 | QUARTZ TIME CLOCK SWITCH | L&T/INDOASIAN/SIEMENS |
| 23 | PVC WIRE WITH COPPER CONDUCTOR | RR KABEL/KEI/POLYCAB/MILEX/GUJCAB/ STANDARD/ FINOLEX/ ANCHOR |
| 24 | FLUSH TYPE SWITCHES, SOCKETS, HOLDERS AND CEILING ROSES & ELECTRONIC REGULATORS | ANCHOR/MK/NORTHWEST/VINAY/PANAMA/HAVELLS |
| 25 | DOOR BELLS/CALL BELLS | ANCHOR/LEGEND/MK/NORTHWEST |
| 26 | MODULAR SWITCHES, SOCKETS, PLATES & BOXES | ANCHOR / MK / NORTHWEST / LEGRAND /HAVELLS/ INDOASIAN/ SIEMENS |
| 27 | PVC CONDUIT/OVAL CONDUIT & CASSING CAPPING AND ACCESSORIES | PRECISION/VULCAN/FINOLEX/ GARWARE/ RESTOPLAST/ SWASTIK/ BPI |
| 28 | GLS LAMPS & FLUORESCENT LAMPS | PHILIPS / BAJAJ / WIPRO / CROMPTON GREAVES / OSRAM / SURYA ROSHNI /GE |
| 29 | HPSV, HPMV & METAL HELIDE LAMPS | PHILIPS / BAJAJ / WIPRO / CROMPTON GREAVES / OSRAM / SURYA ROSHNI /GE |
| 30 | IGNITORS FOR HPSV, METAL HELIDE LAMPS | PHILIPS / BAJAJ / WIPRO / CROMPTON GREAVES / OSRAM / SURYA ROSHNI /GE |
| 31 | LUMINARIES | PHILIPS/BAJAJ/WIPRO/CROMPTON GREAVES / OSRAM / SURYA ROSHNI /GE |
| 31a | LED Luminaries | Philips /Bajaj/Wipro/CG/Surya/Pyrotech/Syska/Nessa having surge Protection ≥10KV for fittings & internal Surge protection for Driver of≥4KV, LED Chip only OSRAM/CREE/Philips Lumileds/Citizen/Nicia with LM-79,80 CERTIFICATION |
| 32 | CEILING FANS | BAJAJ/ORIENT/USHA/CROMPTON GREAVES / ALMONARD/GEC |
| 33 | WALL MOUNTING FANS | BAJAJ/ORIENT/USHA/CROMPTON GREAVES / ALMONARD/GEC |
| 34 | EXHUAST FANS | BAJAJ/ORIENT/USHA/CROMPTON GREAVES / ALMONARD/GEC |
| 35 | HEAVY DUTY INDUSTRIAL WALL MOUNTING FANS | BAJAJ/ORIENT/USHA/CROMPTON GREAVES / ALMONARD/GEC |
| 36 | WATER COOLER | VOLTAS/SHRIRAM USHA/BLUE STAR |
| 37 | AIR CONDITIONERS | VOLTAS/CARRIER/BLUESTAR/USHA/ HITACHI/LG/ SAMSUNG/ONIDA |
| 38 | REFRIGERATORS | VOLTAS/CARRIER/BLUESTAR/USHA/ HITACHI/LG/ SAMSUNG/WHIRLPOOL |
| 39 | VOLTAGE STABILIZER | VEELINE / CAPRI |
| 40 | INVERTERS | SUKAM / MICROTEK |
| 41 | D.G. SETS |  |
|  | A) ENGINE | CUMMINS/GREAVES/KIRLOSKAR/ CATERPILLAR/ ASHOK LEYLAND/VOLVO |
|  | B) ALTERNATOR | STAMFORD/CROMPTON GREAVES /JYOTI/ KIRLOSKAR ELECTRIC |
| 42 | ELECTRIC MOTOR | ALSTOM/CROMPTON GREAVES /SIEMENS/ KIRLOSKAR/ABB |
| 43 | WATER PUMPS | SWASTIK / KSB |
| 44 | WATER GEYSER | BAJAJ/USHA / CROMPTON GREAVES / SPHEREHOT / RACOLD |
| 45 | LUGS & CABLE GLANDS | DOWELLS / JAINSON / BRACO |

Signature & Seal                           					Superintending Engineer (E)

Of Contractor                        					Deendayal Port Trust