## Schedule-B
ELECTRICAL DIVISION
Name of Work: Electrification of Proposed CISF Office complex at New Kandla.
Schedule-B
S/N | Description | Qty | Unit | Rate | Amount
1 | Supply, Installation, Testing and commissioning
of Distribution panel & Outdoor Feeder Panel
for distribution of underground power supply as
per technical specification No. 1.
(a) | Main Distribution panel
(i) | Supply | 1 | No.
(ii) | Installation, Testing and commissioing | 1 | No.
(b) | Outdoor Feeder panel
(i) | Supply | 2 | No.
(ii) | Installation, Testing and commissioing | 2 | No.
2 | Supply at site 4 Core, LT armoured aluminium
conductor XLPE cable of 1.1kV grade of
following type & size as per Technical
Specification No. 2.
(a) | 4 Core X 150 Sq.mm | 500 | Mtr.
(b) | 4 Core X 35 Sq.mm | 200 | Mtr.
(e) | 4 Core X 4 Sq.mm | 250 | Mtr.
3 | Laying, Testing & Commissioning of LT XLPE
cables of various sizes through following and as
per Technical Specification No 3.
(a) | Laying of Cable through RCC Cable Trench as
| per technical Specification No. 3(a). | 300 | Mtr.
(b) | Laying of Cable through exaction in all type of
| Soil as per technical specification No. 3(b). | 250 | Mtr.
(c) | Laying of cable on wall through saddles &
| clamps as per Technical Specification No. 3(c). | 250 | Mtr.
(d) | Laying of Cable through horizontal boring (6”)
in RCC Road /Rail/Jetty/RCC surface by
providing HDPE pipe of suitable size as per
| technical Specification No. 3(d). | 150 | Mtr.
4 | Providing & fixing following concealed wiring
for single phase sub-circuit from the main
switch / meter/ DBs / MCBs to the switch board
with copper conductor of following sizes to be
used as phase & neutral and bare copper wire
as earthing as per Technical Specication No. 4.
(a) | With 2 x 2.5 Sq.mm. copper conductor | 4000 | Mtr.
(b) | With 2 x 4.0 Sq.mm. copper conductor | 1500 | Mtr.
5 | Providing and Fixing concealed wiring for
modular light/tube/bell point with PVC
insulated single core standard 1.5 Sq.mm.
copper conductor wire as per Technical
| Specification No. 5. | 415 | No.
6 | Providing and Fixing concealed wiring for
modular Fan point with PVC insulated single
core standard 1.5 Sq.mm. copper conductor
wire & single/twin module step cut electronic
fan regulator as case may be as per Technical
| Specification No. 6. | 140 | No.
7 | Providing and fixing Surface wiring for Modular
5/6A X 250 Volt. and as per Technical
Specification No. 7.
(a) | Full plug point. | 125 | No.
(b) | Half Plug Point. | 100 | No.
8 | Providing and fixing concealed wiring for
15/16A X250 Volt Modular power point as per
| Technical Specification No. 8. | 60 | No.
9 | Providing and fixing concealed wiring for
modular telephone/intercom point as per
| Technical Specification No. 9. | 40 | No.
10 | Providing and fixing concealed wiring for 20A,
Modular A.C point as per Technical
| Specification No. 10. | 40 | No.
11 | Providing and fixing concealed wiring for 4 X
5/6A X 250 Volt modular plug point with 4 Nos.
SP switches for computer as per Technical
| Specification No. 11. | 25 | No.
12 | Supply, Installation, Testing & Commissioning
of 4 Way TPN (8 + 12 Module) Double Door
distribution board as per Technical specification
No. 12.
(i) | Supply | 10 | No.
(ii) | Installation, Testing and commissioning | 10 | No.
13 | Supply & Fixing of following type of MCCB,
RCCB & MCBs as per Technical Specification
No. 13.
(a) | 6-32 A SP MCB with 10kA Breaking Capacity
in 'C' Series
(i) | Supply | 125 | No.
(ii) | Fixing | 125 | No.
(b) | 100 A 4-Pole MCB with 10kA Breaking
Capacity in 'C' Series
(i) | Supply | 12 | No.
(ii) | Fixing | 12 | No.
(c) | 4 Pole, 100 Amp. RCCB
(i) | Supply | 12 | No.
(ii) | Fixing | 12 | No.
14 | Supply & Fixing of 4ft, LED Tube white Light
Fixture of 20-22 Watt with complete accessories
as per Technical Specification No. 14.
(a) | Supply | 100 | No.
(b) | Fixing | 100 | No.
15 | Supply & Fixing of 18 Watt Sleek LED Down
Light as per Technical Specification No. 15.
(i) | Supply | 200 | No.
(ii) | Fixing | 200 | No.
16 | Supply & Fixing of 1200mm sweep cealing fan
with all accessories as per Technical
Specification No. 16.
(i) | Supply | 150 | No.
(ii) | Fixing | 150 | No.
17 | Supply & Fixing of Exhaust Fan as per Technical
Specification No. 17.
(i) | Supply | 15 | No.
(ii) | Fixing | 15 | No.
18 | Supply & Installation of Street Light 140 watt
warm white LED light along with connector,
complete in all respect as per Technical
Specification No. 18.
(a) | Supply | 15 | No.
(b) | Installation | 15 | No.
19 | Supply & Fixing of 10Watt LED bulk Head light
fixture with all accessories as per Technical
Specification No. 19.
(a) | Supply | 20 | No.
(b) | Fixing | 20 | No.
20 | High Mast Design, Manufacturing, supply at site,
of 20 Mtrs. height with raising and lowering
arrangement head frame luminaries carriage
suitable to instllation of16 to 18 Nos luminaries
of 250 watt. in symmetrical arrangement
double drum winch and required acceceries like
wire trailing cable connector integral power
cable tool motor manual handle junction box
ligtening wiring material power cable panel
between panel and mast MCB in base
compartment Cg mounting clamps and bolts
etc. Also included foudation bolts special steel
along with nuts washers anchor plate and
template HIGH MAST 20MT 150/450 MM
SECTION THIKNESS 3/4 MM PCD 590 MM (8
HOLE). This includes supply of fixing of 250
Watt white LED floodlight fitings on mast and
| as per Technical Specification No. 20. | 2 | No.
21 | Preparation earthing station, chemical treated
back filled compound earthing system with
Pipe-In-Pipe 50 mm Dia GI type 2 Mtr Depth,
Maintenance free. as per Technical Specification
| No. 21. | 15 | No.
22 | Supply, Laying, connecting of GI Strips
Connecting earth station to the equipmement
as per Technical Specification No. 22.
(a) | 25x3mm thick
(I) | Supply | 250 | Mtr.
(II) | Laying, connecting | 250 | Mtr.
23 | Providing & connecting following type earth
wire for earth station to Main DB / Meter/SB as
per requirement as per Technical Specification
No. 23.
(a) | 8 SWG GI earthing wire. | 1000 | Mtr.
24 | PCC Cable trench Cover of size -- X -- including
material & labour
Total Amount: Rs.
(In Words: Rs.____________________________________________________________________________________)
Note: The rates should be inclusive of all taxes, duties, fees, cess etc. and all incidental charges,
but exclusive of GST.
J.E. (E) Gr.I A.E. (E) XEN (E)