## Schedule-B (ARC OH)
ELECTRICAL DIVISION
Name of work:
Schedule-B
S/N | Description | Qty. | Unit | Rate | Amount
1 | Supply, Installation, Testing &
Commissioning of DP Structure with 11 KV
A.B. Switch and H.G. Fuse on 11 Mtr. RSJ
Pole including strnging of AAAC Conductor
from existing line and cable jointing &
seperation as per Technical Specification
No.1.
(a) | Supply | 7 | No.
(b) | Installation, testing & commissioning | 7 | No.
2 | Supply & erection of Four Pole structures
as per Technical Specification No. 2.
(b) | Four Pole Structure
(i) | Supply | 7 | No.
(ii) | Erection, testing & commissioning | 7 | No.
3 | Supply, Installation, Testing and Commissioning
of 11KV Overhead line with 55 MM2 AAAC
Rabbit Conductor as per Technical Specification
| No. 3. | 300 | Mtr.
4 | Muffing to pole & stay as per Technical
| Specification No. 4. | 50 | m3
5 | Supply at site XLPE 3C X 185 sq.mm
insulated armoured aluminium
conductor cable as per Technical
| Specification No. 5. | 150 | Mtr.
6 | Supply at site LT XLPE insulated armoured
aluminium conductor cable of following sizes
as per Technical Specification No. 6.
(a) | 4C X 95 Sq.mm | 4000 | Mtr.
(b) | 4C X 35 Sq.mm | 5000 | Mtr.
(c) | 4C X 25 Sq.mm | 6000 | Mtr.
7 | Laying of Double Circuit (Two Parallel Cables)
of LT & HT Cable Cable through various
mediums as per Technical Specification No. 7.
(a) | Through Hard / Soft Soil excavation | 10000 | Mtr.
(Total of
both cables)
Route
length 5000
Mtr.
(b) | Through HDPE pipe under rail/road
crossing/muddy area after making Horizontal
| Boring. | 4000 | Mtr.
(Total of
both cables)
Route
length 2000
Mtr.
(c ) | In GI Class-B Pipe. | 1075 | Mtr.
(Total of
both cables)
Route
length 500
Mtr.
8 | Supply, fixing and testing of Outdoor Cable end
Termination kit for 11kV 185sqmm XLPE Cable
| as per technical specification no.8 | 20 | No.
9 | High Mast Manufacturing, Supply, erection,
testing & commissioning at site, of Polygonal
galvanised high mast tower of 20 Mtr. as per
Technical Specification No. 9.
(I) | Asymmetrical loading arrangement
(a) | Supply | 20 | No.
(b) | Erection, testing & commissioning | 20 | No.
(ii) | Symmetrical loading arrangement
(a) | Supply | 5 | No.
(b) | Erection, testing & commissioning | 5 | No.
10 | Supply of 350 Watt (with optical lens) LED
flood light suitable for High mast Tower as per
technical specifiaction No. 10.
(a) | Supply | 400 | No.
(b) | Installation, testing & commissioning | 400 | No.
11 | Supply, Installation, testing & commissioning of
guarding to 20 Mtr. High Mast Tower along
with guarding foundation as per Technical
| Specification No. 11. | 25 | No.
12 | Supply. Installation, testing & commissioning
of Distribution Transformer- 11/0.433 kV,
copper winding outdoor type suitable for pole
mounting PGVCL approved make of following
ratings as per Technical Specification No. 12.
(i) | 200 KVA
(a) | Supply | 7 | No.
(b) | Installation, Testing and commissioning | 7 | No.
13 | Supply, Installation, Testing and
Commissioning of Street Light Feeder Pillar
fabricated from Stainless Steel as per
Technical Specification No. 13.
(a) | Supply | 10 | No.
(b) | Installation, Testing and commissioning | 10 | No.
14 | Providing & Fixing of Chemical Treated Gel
| Earthing as per Technical Specification No. 26. | 75 | No.
15 | Providing & connecting following type of earth
strip/wire for earth station to equipment as per
requirement and as per Technical Specification
No. 27.
(a) | 8 SWG GI earthing wire | 500 | Mtr.
(b) | 25X3 mm Hot Dip GI Strip. | 1500 | Mtr.
Total Amount: Rs.
(In Words: Rs.___________________________________________________________________________)
Note: The rates should be inclusive of all taxes, duties, fees, cess etc. and all incidental charges,
but exclusive of GST.
Seal & Signature |  |  |  | Executive Engineer (E)
of Contractor |  |  |  | Deendayal Port Authority